## Size
Component | Unit | Class1 | Class2 | Class3 | Class4 | Total
RES | kW | - | - | - | - | 1.026e-09
Battery Storage System | kW | - | - | - | - | 3.9647e-05
Genset | kW | - | - | - | - | 169.892
NG Boiler | kW | 262.3529 | 1157.1068 | 40.1912 | 0 | 1459.6509

## Cost
Cost item | Component | Scenario | Unit | Class1 | Class2 | Class3 | Class4 | Total
Net Present Cost | System | - | MUSD | - | - | - | - | 0.28781
Investment Cost | RES | - | MUSD | - | - | - | - | 2.0521e-12
| Battery Storage System | - | MUSD | - | - | - | - | 2.1806e-08
| Genset | - | MUSD | - | - | - | - | 0.033978
| NG Boiler | - | MUSD | 0.026235 | 0.11571 | 0.0040191 | 0 | 0.14597
Fixed Cost | RES | - | MUSD | - | - | - | - | 5.7288e-13
| Battery Storage System | - | MUSD | - | - | - | - | 6.0877e-09
| Genset | - | MUSD | - | - | - | - | 0.047429
| NG Boiler | - | MUSD | 0.0054931 | 0.024227 | 0.00084152 | 0 | 0.030562
Replacement Cost | Battery Storage System | - | MUSD | - | - | - | - | 1.0544e-08
Fuel cost | Genset | 1 | MUSD | - | - | - | - | 0.010188
| Boiler | 1 | MUSD | 0.0049125 | 0.014564 | 0.00021504 | 0 | 0.019692
Electric lost load cost | System | 1 | MUSD | - | - | - | - | 0
Thermal lost load cost | System | 1 | MUSD | 0 | 0 | 0 | 0 | 0

## Indicators
|  | Electric | Thermal | Total
Total Primary Energy Supply | MWh | 7.1816 | 7.1235 | 14.3051
Fossil Primary Energy Supply | % | - | - | 1
Renewable Primary Energy Supply | % | - | - | 5.301e-13
Efficiency | % | 0.3 | 0.87879 | 0.58822
Levelized Cost of Energy | USD/kWh | - | - | 2.4504