## Size
Component | Unit | Class1 | Class2 | Class3 | Class4 | Total
RES | kW | - | - | - | - | 6.2679e-08
Battery Storage System | kW | - | - | - | - | 0.0010721
Genset | kW | - | - | - | - | 169.8918
Solar collector | kW | 1.0017e-06 | 3.0741e-07 | 1.1748e-06 | 7.0128e-06 | 9.4966e-06
Tank | kW | 293.883 | 1030.5297 | 88.645 | 0.0098393 | 1413.0676
NG Boiler | kW | 107.7073 | 724.7369 | 0.013633 | 0 | 832.4578
Electric resistance | kW | 37.0935 | 24.0862 | 4.72 | 0.0025985 | 65.9022

## Cost
Cost item | Component | Scenario | Unit | Class1 | Class2 | Class3 | Class4 | Total
Net Present Cost | System | - | MUSD | - | - | - | - | 0.28094
Investment Cost | RES | - | MUSD | - | - | - | - | 1.2536e-10
| Battery Storage System | - | MUSD | - | - | - | - | 5.8968e-07
| Genset | - | MUSD | - | - | - | - | 0.033978
| Solar collector | - | MUSD | 4.2071e-10 | 1.2911e-10 | 4.9341e-10 | 2.9454e-09 | 3.9886e-09
| NG Boiler | - | MUSD | 0.010771 | 0.072474 | 1.3633e-06 | 0 | 0.083246
| Tank | - | MUSD | 0.01058 | 0.037099 | 0.0031912 | 3.5421e-07 | 0.05087
| Electric resistance | - | MUSD | 0.0037093 | 0.0024086 | 0.000472 | 2.5985e-07 | 0.0065902
Fixed Cost | RES | - | MUSD | - | - | - | - | 3.4996e-11
| Battery Storage System | - | MUSD | - | - | - | - | 1.6462e-07
| Genset | - | MUSD | - | - | - | - | 0.047429
| Solar collector | - | MUSD | 8.8087e-11 | 2.7033e-11 | 1.0331e-10 | 6.167e-10 | 8.3513e-10
| NG Boiler | - | MUSD | 0.0022552 | 0.015174 | 2.8546e-07 | 0 | 0.01743
| Tank | - | MUSD | 0.0022152 | 0.0077678 | 0.00066818 | 7.4165e-08 | 0.010651
| Electric resistance | - | MUSD | 0.00077666 | 0.00050431 | 9.8827e-05 | 5.4408e-08 | 0.0013799
Replacement Cost | Battery Storage System | - | MUSD | - | - | - | - | 2.8513e-07
Fuel cost | Genset | 1 | MUSD | - | - | - | - | 0.014419
| Boiler | 1 | MUSD | 0.0030096 | 0.011936 | 1.2782e-07 | 0 | 0.014946
Electric lost load cost | System | 1 | MUSD | - | - | - | - | 0
Thermal lost load cost | System | 1 | MUSD | 0 | 0 | 0 | 0 | 0

## Indicators
|  | Electric | Thermal | Total
Total Primary Energy Supply | MWh | 9.2698 | 6.3016 | 15.5715
Fossil Primary Energy Supply | % | - | - | 1
Renewable Primary Energy Supply | % | - | - | 3.9713e-09
Efficiency | % | 0.23242 | 0.99339 | 0.54038
Levelized Cost of Energy | USD/kWh | - | - | 2.3919