## Size
Component | Unit | Class1 | Class2 | Class3 | Class4 | Total
RES | kW | - | - | - | - | 320.3739
Battery Storage System | kW | - | - | - | - | 1620.946
Genset | kW | - | - | - | - | 18.7148
NG Boiler | kW | 244.9884 | 1069.2528 | 54.7222 | 47.4423 | 1416.4057

## Cost
Cost item | Component | Scenario | Unit | Class1 | Class2 | Class3 | Class4 | Total
Net Present Cost | System | - | MUSD | - | - | - | - | 9.984
Investment Cost | RES | - | MUSD | - | - | - | - | 0.64075
| Battery Storage System | - | MUSD | - | - | - | - | 0.89152
| Genset | - | MUSD | - | - | - | - | 0.003743
| NG Boiler | - | MUSD | 0.024499 | 0.10693 | 0.0054722 | 0.0047442 | 0.14164
Fixed Cost | RES | - | MUSD | - | - | - | - | 0.17888
| Battery Storage System | - | MUSD | - | - | - | - | 0.24889
| Genset | - | MUSD | - | - | - | - | 0.0052247
| NG Boiler | - | MUSD | 0.0051295 | 0.022388 | 0.0011458 | 0.00099334 | 0.029657
Replacement Cost | Battery Storage System | - | MUSD | - | - | - | - | 0.61993
Fuel cost | Genset | 1 | MUSD | - | - | - | - | 0.13939
| Boiler | 1 | MUSD | 1.9335 | 5.6675 | 0.08266 | 0.020657 | 7.7043
Electric lost load cost | System | 1 | MUSD | - | - | - | - | 0
Thermal lost load cost | System | 1 | MUSD | 0 | 0 | 0 | 0 | 0

## Indicators
|  | Electric | Thermal | Total
Total Primary Energy Supply | MWh | 960.4665 | 2787.0253 | 3747.4917
Fossil Primary Energy Supply | % | - | - | 0.76993
Renewable Primary Energy Supply | % | - | - | 0.23007
Efficiency | % | 0.82901 | 0.87879 | 0.86603
Levelized Cost of Energy | USD/kWh | - | - | 0.22039