## Size
Component | Unit | Class1 | Class2 | Class3 | Class4 | Total
RES | kW | - | - | - | - | 0
Battery Storage System | kW | - | - | - | - | 3.8023e-05
Genset | kW | - | - | - | - | 129.4114
Electric resistance | kW | 29.4333 | 60.6617 | 7.448 | 0 | 97.543

## Cost
Cost item | Component | Scenario | Unit | Class1 | Class2 | Class3 | Class4 | Total
Net Present Cost | System | - | MUSD | - | - | - | - | 0.074516
Investment Cost | RES | - | MUSD | - | - | - | - | 0
| Battery Storage System | - | MUSD | - | - | - | - | 2.0913e-08
| Genset | - | MUSD | - | - | - | - | 0.025882
| Electric resistance | - | MUSD | 0.0029433 | 0.0060662 | 0.0007448 | 0 | 0.0097543
Fixed Cost | RES | - | MUSD | - | - | - | - | 0
| Battery Storage System | - | MUSD | - | - | - | - | 5.8383e-09
| Genset | - | MUSD | - | - | - | - | 0.036128
| Electric resistance | - | MUSD | 0.00061627 | 0.0012701 | 0.00015595 | 0 | 0.0020423
Fuel cost | Genset | 1 | MUSD | - | - | - | - | 0.00070882
Electric lost load cost | System | 1 | MUSD | - | - | - | - | 0
Thermal lost load cost | System | 1 | MUSD | 0 | 0 | 0 | 0 | 0

## Indicators
|  | Electric | Thermal | Total
Total Primary Energy Supply | MWh | 29.9806 | 2.6779 | 32.6584
Fossil Primary Energy Supply | % | - | - | 1
Renewable Primary Energy Supply | % | - | - | 0
Efficiency | % | 0.21067 | 1.0098 | 0.2762
Levelized Cost of Energy | USD/kWh | - | - | 35.5087