## Size
Component | Unit | Class1 | Total
RES | kW | - | 0
Battery Storage System | kW | - | 8.3212e-21
Genset | kW | - | 181.6129
NG Boiler | kW | 5098.4963 | 5098.4963

## Cost
Cost item | Component | Scenario | Unit | Class1 | Total
Net Present Cost | System | - | MUSD | - | 6.4059
Investment Cost | RES | - | MUSD | - | 0
| Battery Storage System | - | MUSD | - | 8.3212e-18
| Genset | - | MUSD | - | 0.036323
| NG Boiler | - | MUSD | 0.50985 | 0.50985
Fixed Cost | RES | - | MUSD | - | 0
| Battery Storage System | - | MUSD | - | 1.1615e-16
| Genset | - | MUSD | - | 0.050701
| NG Boiler | - | MUSD | 0.10675 | 0.10675
Fuel cost | Genset | 1 | MUSD | - | 3.765
| Boiler | 1 | MUSD | 1.9372 | 1.9372
Electric lost load cost | System | 1 | MUSD | - | 0
Thermal lost load cost | System | 1 | MUSD | 0 | 0

## Indicators
|  | Electric | Thermal | Total
Total Primary Energy Supply | MWh | 159247.4889 | 41965.2766 | 201212.7655
Fossil Primary Energy Supply | % | - | - | 1
Renewable Primary Energy Supply | % | - | - | 0
Efficiency | % | 0.3 | 0.87879 | 0.42071
Levelized Cost of Energy | USD/kWh | - | - | 0.32527